| ATTENTION! The permit applies to works performed in technical rooms, elevator shafts, installation shafts, inspection chambers, HVAC instalation systems, storage tanks, reaction tanks, formwork boxes, culverts and others where there is a risk related to confined spaces. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| SECTION 1: (To be completed by the contractor of works) Nr seryjny pozwolenia CS / ________________ |  |  |  |  |  |  |
| Site name: |  |  |  |  | Contractor: |  |
| Description of work: |  |  |  |  |  |  |
| Team completing work: | Name: |  |  |  | Position: |  |
| Work supervisor person: |  |  |  |  |  |  |
| Other members of the team: |  |  |  |  |  |  |
| Place of performance of works: |  |  |  |  |  |  |
| SECTION 2: Attachments: (To be completed by the contractor of works) |  |  |  |  |  |  |
| Checklist | - Yes | - Attention! Permit will not be approved if check list not attached |  |  |  |  |
| Any special precautions required (to be described) |  |  |  |  |  |  |
| The persons designated above (and only those persons) are hereby granted permission to enter and work in the confined space in accordance with the approved Method Statement & Risk assessment. |  |  |  |  |  |  |
| A work permit is valid: | Date: |  |  |  | From an hour: |  |
| - Attention! This Permit CANNOT cover more than one shift and can only be issued for the maximum of a 12 hour period |  |  |  |  |  |  |
| I hereby confirm that the works in a confined space will be performed in accordance with the provisions of this permit and the attached checklist (Trade Contractor’s Competent Person to complete) |  |  |  |  |  |  |
| Date: |  |  | Position: |  |  |  |
| Name: |  |  | Signature: |  |  |  |
| SECTION 3: COMPLETION OF WORKS ((To be completed by the person supervising works on the Contractor's side) |  |  |  |  |  |  |
| The work for which this permit was issued is complete (or stopped) and all persons, materials and equipment under my supervision have been withdrawn. |  |  |  |  |  |  |
| Date: |  |  | Time: |  |  |  |
| Name: |  |  | Signature: |  |  |  |
| Comments: |  |  |  |  |  |  |
| - THE PERMIT IS NOW CANCELED - A NEW PERMIT WILL BE REQUIRED IN CASE OF CONTINUING WORK |  |  |  |  |  |  |

This checklist must be completed by the Trade Contractors Competent Nominated Person before a Confined Space Entry Permit can be issued. A copy of the checklist must also be attached to the permit and its findings briefed to all operatives entering the confined space.

|  |  | Yes | No | N/A | Comments |
| --- | --- | --- | --- | --- | --- |
| 1 | Has a risk assessment and method statement been approved? |  |  |  |  |
| 2 | Has a person for permanent supervision (in a managerial position) been appointed? |  |  |  |  |
| 3 | Is the correct PPE identified on the risk assessment, readily available and fit for use? |  |  |  |  |
| 4 | Is there access and egress? |  |  |  |  |
| 5 | Are there safe working platforms and anchor points in the installation shafts? |  |  |  |  |
| 6 | Is an emergency and rescue plan in place and approved? |  |  |  |  |
| 7 | Is adequate emergency and rescue equipment in place? (e.g. evacuation tripod, safety harness with rescue grips)? |  |  |  |  |
| 8 | Is the rescue team has been trained in the use of rescue equipment? |  |  |  |  |
| 9 | Has a system of communication been established and are emergency contact numbers available? |  |  |  |  |
| 10 | Is there a requirement for forced ventilation to be in place (mechanical)? If so, what type? |  |  |  |  |
| 11 | Is the measurement of oxygen concentration and / or other hazardous gases required? |  |  |  |  |
| 12 | In case concentration measurements are required, have the results been recorded? |  |  |  |  |
| 13 | Is measuring equipment has been calibrated? |  |  |  |  |
| 14 | Is the measuring equipment appropriate, i.e. is it capable of detecting hazardous gases, low oxygen concentration or explosive atmospheres, etc. (e.g. 4-gas detector)? |  |  |  |  |
| 15 | Have all persons entering the given space received training on measuring equipment and behavior in case of an emergency? |  |  |  |  |
| 16 | Have all possible harmful substances been removed from in this space? |  |  |  |  |
| 17 | Have all installations in this space been insulated or disconnected? If so, who is responsible for permanent insulation? |  |  |  |  |
| 18 | Is breathing apparatus required? If so, what type and is it OHS approved? |  |  |  |  |
| 19 | If the use of breathing apparatus is required, do all persons know how to use them? |  |  |  |  |
| 20 | Are all the necessary warning signs and safety barriers available? |  |  |  |  |
| 21 | Is safe work lighting provided? |  |  |  |  |
| 22 | Are further Permits required, e.g. for fire hazardous works? |  |  |  |  |
| 23 | Are non-sparking and safe voltage tools available (explosive or humid atmosphere)? |  |  |  |  |
| Name: |  |  | Position: |  |  |
| Signature: |  |  | Date: |  |  |

ATTENTION! Answers N/A (not applicable) can only be provided to questions 5, 10, 11, 12, 13, 14, 16, 17, 18, 22, 23