Permit No. ………………………

| I. Overall information (to be completed by contractor) |  |  |  |
| --- | --- | --- | --- |
| Site / project: |  | Location (building, level, room.): |  |
| Contractor (full name): |  | Person who supervising the works (Name, Last Name): |  |
| Description or work and equipment |  |  |  |

| II. Works condition / Checklist Permit Serial No. CS / ________________ |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CHECKLIST (write in the box “Yes”, “No”, “N/A”) | Date: |  |  |  |  |  |  |  |
| Provided MSRA? |  |  |  |  |  |  |  |  |
| 1. Is there adequate and operable ventilation equipment in place or sufficient natural ventilation? | ## Checklist (it is mandatory to check points on each subsequent day of permit validity) Yes, No or N/A |  |  |  |  |  |  |  |
| 2. Has all loose combustible materials removed to a safe distance? |  |  |  |  |  |  |  |  |
| 3. Is suitable protection provided on levels below? (Barriers and signs etc) |  |  |  |  |  |  |  |  |
| 4. Are suitable fire extinguishers (min. 6kg ABC) and blankets readily available? |  |  |  |  |  |  |  |  |
| 5. If a combustible material cannot be moved, is it adequately protected from heat and/or sparks? |  |  |  |  |  |  |  |  |
| 6. Is flammable fuel stored away from hot work? |  |  |  |  |  |  |  |  |
| 7. Are technical gas cylinders secured in order to prevent them being knocked or pulled over, valves provided with protection rims? |  |  |  |  |  |  |  |  |
| 8. If gas burners are used, is the cylinder at least 3 metres away from the burner? |  |  |  |  |  |  |  |  |
| 9. If the LPG torch hoses are equipped with a reducers? |  |  |  |  |  |  |  |  |
| 10. Have all those involved in the work been issued with suitable and sufficient PPE (fire proof overalls)? |  |  |  |  |  |  |  |  |
| Legible supervisor signature (every other day) |  |  |  |  |  |  |  |  |

| III. Shifts record (to be completed by contractor) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Note! If the location will be changed of fire-hazardous works (indicated at the beginning of the permit) – contractor should apply to the General Contractor for a new permit! |  |  |  |  |  |
| Date: | Start hour:: | Finish hour: | Final inspection hour 1 | Contractor Supervisor signature: | General Contractor Signature |

| IV. Permit Acceptance / Permit Closing (to be completed by General Contractor) |  |  |
| --- | --- | --- |
| Part 3.A. Approval to start the works |  |  |
| First Name, Last Name: | Company name / Job position | Date and signature: |
| …………………………………………………. | …………………………………………………. | …………………………………………………. |
| Part 3.B. Completion of works confirmation |  |  |
| First Name, Last Name: | Company name / Job position | Date and signature: |
| …………………………………………………. | …………………………………………………. | …………………………………………………. |

1 The final inspection should take place 1 hour after the end of work on a given day (verification of signs of smoking, smouldering, etc.)